Last servicing date: …………………                    Next servicing date: ………………………….

Client: ………………………………….                  Client’s address: ……………………………….

Air Conditioner Servicing log

| S/N | Activity | Frequency | Yes | No |
| --- | --- | --- | --- | --- |
|  | Outdoor unit |  |  |  |
| 1 | Check and clean the condenser unit of leaves and debris | Quarterly |  |  |
| 2 | Check for proper refrigerant levels, adjust as required | Quarterly |  |  |
| 3 | Check the coil as well as the cabinet for dust and debris | Quarterly |  |  |
| 4 | Check the drain pan to see if there is anything obstructing the flow | Quarterly |  |  |
| 5 | Check the fan and motor for signs of wear and tear | Quarterly |  |  |
| 6 | Check compressor tubings for damage | Quarterly |  |  |
| 7 | Check electrical wires for damage | Quarterly |  |  |
|  | Indoor unit |  |  |  |
| 8 | Check air filter, clean or replace if required | Quarterly |  |  |
| 9 | Check ductwork, make sure there are no leaks | Quarterly |  |  |
| 10 | Check evaporator coil for proper drainage, clean as required | Quarterly |  |  |
| 11 | Check the blower housing for debris and clean as necessary | Quarterly |  |  |
| 12 | Check fan motor and belt, lubricate (older models) motor and replace the belt if required | Quarterly |  |  |
| 13 | Check control box – wiring and connections | Quarterly |  |  |
|  |  | Quarterly |  |  |

Serviced by: ……………………………………………

Signature: ……………………………………………...

Date: …………………………………………………….